## Sheet1
Note | LAB | Alias | Item | Source | Cat# | unit price | num | Cost | Note
methelene blue
150mm plates
|  |  | DMSO | SIGMA | D2650-100ML | 148.5
|  |  | DHE | SIGMA
|  |  | DHR | SIGMA
HPF (Hydroxyl Radical and Peroxynitrite Sensor)
APR for H2O2
PBS
toor4der |  | run out | NaCl
monitor
power splitter
aps backup power
nuts bolts screws
|  |  | RT-L10 tips | RAININ |  |  |  |  | for small volume, long small tips
more blocked tips to rannin pipette
cannon camcorders and flash memory
0.22um filteration systems
|  |  | Fisherbrand* Absorbent Surface Liners, roll | FISHER | 14-127-47 | 132.82 | 1
|  |  | Kim-Kap* Disposable Closures > For OD 25mm; Natural | FISHER | 14-957-91D | Case of 500 for $67.87
primers
Calibure calibration beads
|  |  | TO-PRO®-3 Iodide (642⁄661) - 1 mM Solution in DMSO |  | T3605 | 257.28 | 1
|  |  | Dihydrorhodamine (DHR) (10mg) | Invitrogen, molecular probes | D632 | 193.97 | 1 |  | Ex 507, EM 528 Green, live stain | O2-
|  |  | Dihydroethidium (hydroethidine) *5 mM stabilized Solution in DMSO* |  | D-23107 | 195.98 | 1 |  |  | viability
|  |  | JC1, 5mg |  | T-3168 | 367.83 |  |  | Mitochondrial potential | Ex 488nm laser, Em 527/590nm | [113]
|  |  | Nonyl acridine orange (NAO) 100mg |  | A-1372 | 89.7 |  |  | Cardiolipin levels (Mitochondrial mass) | Ex 490nm, Em 518nm | [114, 115]
|  |  | 2’,7’-dichlorodihydro-fluorescein diacetate (H2DCF-DA, H2DCFDA (H2-DCF, DCF) 100mg |  | D-399 | 114.57 |  |  | Mainly H2O2 but there are disagreements. | Ex 490nm (488nm laser), Em 530nm (sharp peak).
http://www.sunrisescience.com/pages/ystmedia_sc_sd.html
|  |  | SC Complete | 100 grams | 1459-100 | 95 | 2
|  |  | FOA | 1 gram | 1921-001 | 136 | 1
|  |  | SD-glucose powder, 10x0.5 liter pouches |  | 1797-300 | 99 | 2
|  |  | YNB powder, 250 grams |  | 1500-250 | 116 | 2
|  |  | L-buthionine-sulfoximine (L_BSO) | SIGMA | B2515-1G | 237.5 |  |  | glutathione synthesis inhibition
|  |  | plumbagin | SIGMA | P7262-1G | 36 |  |  | too expensive
FITC-vad-fmk stating
|  |  | live-dead kit | Invitrogen, molecular probes
|  |  | MitoSOX Red, for mouse cells | Invitrogen, molecular probes | M36008 |  |  |  | Ex 500, Em 582 Red, live stain | oxidative stress
|  |  | Calcein AM | Invitrogen, molecular probes | C3099 |  |  |  | Ex 494, Em 514, green, live stain | viability
|  |  | Alexa Fluor, SYTOX Blue | Invitrogen, molecular probes |  |  |  |  | Ex445, Em 470, blue | viability
|  |  | SYTOX Green | Invitrogen, molecular probes |  |  |  |  | Ex 504,Em523 green | viability
Invitrogen
|  |  | PCR tube | BioRad
taq
| x |  | Menadione sodium bisulfite, BioReagent | SIGMA | M2518-100G | 49 | 2 |  | -20C
| x |  | 3-amino-1,2,4-triazole (3AT) | SIGMA | A8056-25G | 34 | 2 |  | catalase inhibitor, -20C
| x |  | Cadmium nitrate tetrahydrate | SIGMA | 642045-500G | 116
|  |  | Item | Source | Cat# | unit price | num | Cost
| received | FACS tubes | BD Falcon Round-Bottom Polystyrene Tubes, no caps, bulk, Falcon No.:352008 | FISHER | 14-959-5 | 53.19 | 5 | 265.95 | emailed, Nov 17, 11
| received |  | Thermo Scientific* Freezer Fiberboard Storage Boxes, 5.25 L x 5.25 W x 2 in. H, No 5954 | FISHER | 11-678-24A | 39.2 | 5 | 196 | emailed, Nov 17, 11
| received |  | Scott multifold paper towel | FISHER | 19-120-476 | 75.91 | 2 | 151.82 | emailed, Nov 17, 11
Urgent | received |  | brusher .... ... | FISHER | 15-078-213 | 15.7 | 2 | 31.4 | requested, Nov 15, 2011 | banner Nov 17
urgent | received |  | Kimwipes Ex-L | FISHER | 06-666-A Kimberly Clark No.:34155 | 280.28 | 1 | 280.28 | requested, Nov 15, 2011 | banner Nov 17
| received |  | Microflex* Nitron One* Nitrile Gloves > Size: Medium | FISHER | 19-048-722B Microflex No.:NO-123-M | 21.36 | 20 | 427.2 | requested, Nov 15, 2011 | banner Nov 17
| received |  | Kimble* Kimax* Reusable Borosilicate Glass Tubes with Plain End | FISHER | 14-925N Kimble Chase Kimble No.:45060 25200 | Case of 8 PK for $225.87 | 1 | 225.87 | requested, Nov 15, 2011 | banner Nov 17
| received |  | Kim-Kap* Disposable Closures > For OD 25mm; Natural | FISHER | 14-957-91D Kimble Chase Kimble No.:73660 25 | Pack of 500 for $94.05 | 1 | 1 | requested, Nov 15, 2011 | banner Nov 17
|  | x | Height-Adjustable Mobile Laptop Cart, 33 1/16"H x 23 5/8"W x 15 3/4"D, Black/Silver | Office Depot | # 100005 | 35.99 | 3 | 107.97 | Sep 6, 10 emailed to E Thomas | recd 9/15
|  | x | utility hook | Office Depot | 0105698 | 9.71 | 3 | 29.13 | Sep27, emailed
|  | x | desk lamp | Office Depot | Item # 0263835 | 37.79 | 1 | 37.79
|  | x | Haier 1.7Cu refrigerator | Office Depot | 0324414 | 143.99 | 2 | 287.98
|  | x | Haier 4.6 Cu refrigerator | Office Depot | 0403860 | 202.49 | 2 | 404.98
|  |  |  | Office Depot | delivery | 24.99 | 1 | 24.99
|  | x | Digital Ultrasonic cleaner, FS20D, 2.8L | Fisher | 15-335-100 | 526.44 | 1 | 526.44 | Sep27, emailed
|  | x | support rack for FH20 | Fisher | 15-335-304 | 51.8 | 1 | 51.8
|  | x | water | Fisher | W2-20 | 163.69 | 1 | 163.69 |  | recd 10/5
|  | x | water, HPLC | Fisher | W5-4 | 275.16 | 2 | 550.32 |  | recd 10/5
|  | x | water | Fisher | MT25055CM | 95.55 | 2 | 191.1
|  | x | water | Fisher | W2-4 | 192.03 | 2 | 384.06 | 1867.41 | recd 10/5
|  | x | SteriTOP 33mm neck 150ml volume |  | SCGPS01RE | 67 | 2 | 134 | Sep28, emailed
|  | x | Kim wipes | Fisher | 06-666-1A | 143 | 1 | 143 |  | recd
|  | x | Scott multifold paper towel |  | 19-120-476 | 75.91 | 2 | 151.82 |  | recd
|  | x | 150ul blocked tip |  | 02-707116 | 131.08 | 1 | 131.08 |  | recd
|  | x | 5ul blocked tip |  | 02-707-150 | 115.63 | 1 | 115.63 |  | recd
|  | x | 10ul blocked tip |  | 02-707-155 | 128.51 | 1 | 128.51 |  | recd
|  | x | Fac tubes w/o caps |  | 14-959-5 | 63 | 1 | 63 |  | recd
|  | x | Fac tubes w caps |  | 14-956-3C | 91.65 | 1 | 91.65 |  | recd
|  | no response | Bookstore order | spelman bookstore |  | ??? | 18 | 0 | Sep28, emailed, no resposne, emailed again Feb 4-8, 2011 | 4889
|  |  | 0.1-10ul tip, fisher 02-717-133 |  |  |  |  | 1539.58 | 9/28 emailed
|  |  | 200ul tip, fisher 02-717-143 |  |  |  |  | 1058 | 9/29 emailed
|  |  | 1000ul tip, 02-717-149 |  |  |  |  | 4303.72 | 9/30 emailed | 11790
[8 empty] | 1600 | 9/30 emailed
13390
|  | x | propidium iodide | SIGMA | P4170-10mg | 24.2 | 4 | 96.8
|  | x | Radicicol from Diheterospora chlamydosporia, 1MG | SIGMA | R2146-1MG | 98.3 | 2 | 196.6
|  | x | Radicicol from Diheterospora chlamydosporia, 5MG | SIGMA | R2146-5MG | 412 | 1 | 412
|  | x | Rapamycin, 2.5ug/ul solution | SIGMA | R8781-200UL | 196.5 | 2 | 393
|  | x | Rapamycin, powder | SIGMA | R0395-1MG | 273.5 | 1 | 273.5
|  | x | Phosphate buffers saline (PBS) 10x concentration | SIGMA | P5493-1L | 90.4 | 1 | 90.4
|  | x | Phosphate buffers saline (PBS) 10x concentration | SIGMA | P5493-4L | 299 | 1 | 299
|  | x | Phosphate buffered saline, powder, ph 7.4 | SIGMA | P3813-10PAK | 40.4 | 1 | 40.4
|  | x | Dimethyl Sulfoxide (DMSO) | SIGMA | D2650-5x10ML | 80.7 | 1 | 80.7
15273
|  | discontiuned | PYREX* VISTA* Culture Tubes with Phenolic Screw Caps, Corning, 25x150mm, case of 4 | VWR | 89090-406 | 396.87 | 1 | 396.87 | emailed Nov 17, 2010
|  |  | Item | Source | Cat# | unit price | num | Cost
|  |  | AGAR DEHYD MEDIA BACTO 454G | VWR | 90000-760 | 185.45 | 2 | 370.9 | emailed, Dec 7, 2010
|  |  | AGAR BACTO 2KG 90000-762 Each (2 KG) $775.28 | VWR | 90000-762 | 775.28 | 1 | 775.28 | emailed, Dec 7, 2010
|  |  | VWR® Wire Racks, Epoxy-Coated, 3 x 8 25–30 mm 28.3L x 11.6W x 8.3H cm (111/8 x 49/16 x 31/4") Blue 24 60916-898 Case of 24 | VWR | 60916-898 | 684.32 | 1 | 684.32 | emailed, Dec 7, 2010
|  |  | ICN320921 | 1 Each for $322.77 | Shipping Direct from Supplier | 322.77 |  |  | recv Jan 26
ZYMOLYASE 20T EA
|  |  | ICN15353005 | 1 Each for $158.42 | Shipping Direct from Supplier | 158.42
|  |  | PEPTIDASE, TBL-1 5KU | [5 empty] | recv Jan 26
|  |  | 03-395-482 | 1 Each for $121.35 | Estimated Delivery: | 121.35
|  |  | UPRIGHT METAL FRZER RK 2 4X5, freezer rack |  | 2011-01-07
From: ATLANTA, GA (SED)
|  |  | BP439-500 | 1 Each for $40.36 | Estimated Delivery: | 40.36 |  |  | recv Jan 26
|  |  | SORBITOL 500G |  | 2011-01-07
From: ATLANTA, GA (SED)
|  |  | P387-25 | 1 Each for $146.31 | Estimated Delivery: | 146.31
|  |  | PHLOXINE B CERT BIO STAIN 25G |  | 2011-01-19 |  |  |  | recv Jan 26
From: ATLANTA, GA (SED)
|  | x | Kimble Chase glass tube, 25x150mm, ART No 45066-25150,VW 89001-472 | VWR | 89001-472 |  |  |  | recev Jan 27,2011
|  | x | digital camera | office dept
|  | x | sd card | office dept
|  |  | Item | Source | Cat# | unit price | num | Cost
|  | x | Steril petri dishes 150x15mm (case of 100) | VWR | 25384-326 | 57.92 | 10 | 579.2 | emailed Feb 10,2011 | banner Feb 15
|  | x | spelman book orders |  |  |  | about | 665 |  | banner Feb 15
|  |  | 02-682-550 | 2 Case of 10 PK for $180.62 | Estimated Delivery: | 361.24
|  |  | 1.5ML TUBE GRAD NSTR CLR 500PK |  | 2011-02-28 |  |  |  | never ordered?
[5 empty] | From: ATLANTA, GA (SED) |  |  |  | never ordered?
|  |  | 02-681-257 | 1 Pack of 1000 for $101.92 | Estimated Delivery: | 101.92 |  |  | never ordered?
|  |  | .6ML GRDTB W/FLT TP-NA 1000/PK |  | 2011-02-24 |  |  |  | never ordered?
[5 empty] | From: ATLANTA, GA (SED) |  |  |  | never ordered?
|  |  | 13-682-00 | 1 Each for $579.82 | Estimated Delivery: | 579.82 |  |  | never ordered?
|  |  | PIPETAID PROGRMBL DRMND ELITE |  | 2011-02-28 |  |  |  | never ordered?
[5 empty] | From: AGAWAM, MA (NED) |  |  |  | never ordered?
|  |  | 19-170-010A | 2 Case of 10 PK for $163.36 | Estimated Delivery: | 326.72 |  |  | never ordered?
|  |  | GLV EXM AMB NTRL PF SM 100/PK |  | 2011-02-24 |  |  |  | never ordered?
[5 empty] | From: ATLANTA, GA (SED) |  |  |  | never ordered?
|  |  | 19-170-010B | 2 Case of 10 PK for $163.36 | Estimated Delivery: | 326.72 |  |  | never ordered?
|  |  | GLV EXM AMB NTRL PF MD 100/PK |  | 2011-02-24 |  |  |  | never ordered?
[5 empty] | From: ATLANTA, GA (SED) |  |  |  | never ordered?
|  |  | 03-395-465 | 1 Each for $8.72 | Estimated Delivery: | 8.72 |  |  | never ordered?
|  |  | 100 PL CRYO FIBERBOX WT 5X5X2 |  | 2011-02-24 |  |  |  | never ordered?
[5 empty] | From: ATLANTA, GA (SED) |  |  |  | never ordered?
|  |  | Cat No. / Description | Qty / Price | Availability | Subtotal | Options
|  |  | 22-037077 | 1 Case of 10 PK for $299.70 | Estimated Delivery: | 299.7 | < add to hotlist |  | bio233 order, recv'd
|  | x | SLIDE CLRFRST AQUA 144/PK |  | 2011-08-22 |  | < edit |  | bio233 order, recv'd
[5 empty] | From: ATLANTA, GA (SED) |  | < delete |  | bio233 order, recv'd
|  |  | 12-547 | 1 Pack of 1000 for $45.06 | Estimated Delivery: | 45.06 | < add to hotlist |  | bio233 order, recv'd
|  | x | COVER SLIPS PLSTC 22MM 1000/PK |  | 2011-08-22 |  | < edit |  | bio233 order, recv'd
[5 empty] | From: ATLANTA, GA (SED) |  | < delete |  | bio233 order, recv'd
|  | x | 15-901-15A | 1 Pack of 6 for $61.95 | Estimated Delivery: | 61.95 | < add to hotlist |  | bio233 order, recv'd
|  |  | TAPE WHITE 13MMX55M/RL 6/PK |  | 2011-08-22 |  | < edit |  | bio233 order, recv'd
|  |  | View Accessories |  | From: ATLANTA, GA (SED) |  | < delete |  | bio233 order, recv'd
|  | x | 22-363-595 | 1 Pack of 960 for $135.51 | Estimated Delivery: | 135.51 | < add to hotlist |  | bio233 order, recv'd
|  |  | FB LP 1UL FLX LTBL 10BG 960/PK (sterile loops) |  | 2011-08-22 |  | < edit |  | bio233 order, recv'd
[5 empty] | From: ATLANTA, GA (SED) |  | < delete |  | bio233 order, recv'd
|  | x | office depot orders | [5 empty] | emailed 2011-8-18 | banner apprv 2011 August 30
|  | x | Bio-rad T100 thermocycler |  |  |  |  | 3750 | emailed Sep 7Wed, banner poster 9/9 Fri, approved 9/12 Mon, PO 9/16Fri, rev'd Oct 4
|  | Old | Fisherbrand* SureOne* Aerosol Barrier Pipette Tips, 150ul |  | 02-707-116
|  | back order | Ohaus* Adventurer* Pro Precision Electronic Balances > Model AV3102C, With internal calibration | Fisher | 01-919-219 |  |  | 1220.6 | QEM
|  | x | Nonsterile, need autoclave :: Fisherbrand* Snap-Cap* Flat-Top Graduated Microcentrifuge Tubes > 1.5mL; Natural; Nonsterile; Graduated in 0.5mL increments | Fisher | 02-682-550, case of 10 | 144.5 | 1 | 144.5 | QEM
|  | x | Microseal 'F' film (-80C storage), pkg of 100, aluminzed foil seal for PCR plates, pierceable | BIORAD | MSF 1001 | 94 | 2 | 188 | emailed Oct4,11, recv' Oct 11
|  | x | Sealing Roller #MSR-0001 | BIORAD | MSR-0001 | 22 | 1 | 22 | emailed Oct4,11, recv' Oct 11
|  | x | FS100 ALUMINUM SEALS 1 Pack for $59.80 | FISHER | NC9327419 | 59.8 | 1 | 59.8 | emailed Oct4,11
|  |  | ALUMINUM FOIL TAPE 1"X5YDS | FISHER | NC9065146 | 35.09 | 1 | 35.09 | emailed Oct4,11
|  | x | Costar 3370 steril 96 well flat bottom plate (20/pack) | FISHER | 07-200-656 | 140.99 | 1 | 140.99 | emailed Oct4,11
|  | x | Costar 3395, steril 96well round bottom plate (25/pack) | FISHER | 07-200-103 | 90.89 | 1 | 90.89 | emailed Oct4,11
|  | x | SureOne Aerosoal Barrier tip, Volume: 100-1000µL; Micropoint tip, case of 5pk | FISHER | 02-707-404 | 410.15 | 1 | 410.15 | emailed Oct4,11
|  | x | SureOne Aerosoal Barrier tip, Volume: 20-200µL; Micropoint tip, case of 5pk | FISHER | 02-707-430 | 376.22 | 1 | 376.22 | emailed Oct4,11
|  | x | Tryptone; Quantity: 500g | FISHER | DF0123-17-3 | 80.64 | 1 | 80.64 | emailed Oct4,11
|  | x | Soytone; Quantity: 500g, Bacto No.:243620 | FISHER | DF0436-17-5 | 85.55 | 1 | 85.55 | emailed Oct4,11
|  | x | Scienceware replicator, 96 well Z370819 | SIGMA | Z370819-1EA | 17.8 | 1 | 17.8 | emailed Oct4,11, recv' Oct 11
|  | x | Replica plater for 96 well plate, 8x12 array | SIGMA | R2508 -1EA | 548 | 1 | 548 | emailed Oct4,11, recv' Oct 11
|  | ???? | Homozygous Diploid deletion collection | Invitrogene | 95401.H1 |  |  | 3500
|  | x | Qubit starter kit | Invitrogene |  |  |  | 1950
|  | x | Novcel juice |  |  |  |  | 175
| LAB | Alias | Item | Source | Cat# | unit price | num | Cost
Pivoting Test Tube Rack
|  |  | For 16 mm Tubes | VWR | 97003-638 | 227.34 | 1 | 227.34 | Oct13,emailed | ?
|  |  | For 20 mm Tubes | VWR | 97003-640 | 227.34 | 1 | 227.34 | Oct13,emailed | ?
|  |  | For 25 mm Tubes | VWR | 97003-642 | 227.34 | 1 | 227.34 | Oct13,emailed | ?
|  |  | Yeast protocol | bookstore |  |  |  |  | Oct13,11emailed | RP Oct 28
|  |  | R populatin association study book | bookstore |  |  |  |  | Oct13,11emailed | RP Oct 28
|  | x | XPP-auto book | AMAZON |  |  |  |  | Oct13,11, ordered
|  |  | Papers software | [5 empty] | Oct 24, vendor profile updated | RP Oct 28
|  |  | Primers for MET15Delta locus using open PO |  |  |  | 1 | 0
|  |  | EXTRACTOR ETBRWASTERED 2/PK (EtBr removal) | Fisher | 10448030
laminar flow hood
|  |  | KIMAX* Culture Tubes, Reusable, Borosilicate Glass, Kimble Chase, 25 x 150 mm 45048-25150, pack of 72 (no caps?) | VWR | 89000-856 | 142.31 | 1 | 142.31
caps ???
|  |  | Item | Source | Cat# | unit price | num | Cost
BioRad Fast Blast DNA stain
novel juice' non-toxic DNA stain, http://www.egfie.com/store/1827810/product/LD001-1000
G418, Cellgro, Mediatech, Inc, Manassas, VA 20109, 800-cellgro
|  |  | Eppendorf* Snap-Cap Microcentrifuge Safe-Lock* Tubes > Capacity: 1.5mL; Color: Natural | Fisher | 05-402-25 | 39.86 | 4 | 159.44
3M™ Aluminum Foil Tape 425, http://solutions.3m.com/wps/portal/3M/en_US/3M-SpecialtyTapes/SpcltyTape/ProdInfo/Spec6/AlumFoil425/
|  |  | 02-682-550 | 2 Case of 10 PK for $180.62 | Estimated Delivery: | 361.24
|  |  | 1.5ML TUBE GRAD NSTR CLR 500PK |  | 2011-02-28
From: ATLANTA, GA (SED)
|  |  | 02-681-257 | 1 Pack of 1000 for $101.92 | Estimated Delivery: | 101.92
|  |  | .6ML GRDTB W/FLT TP-NA 1000/PK |  | 2011-02-24
From: ATLANTA, GA (SED)
|  |  | 13-682-00 | 1 Each for $579.82 | Estimated Delivery: | 579.82
|  |  | PIPETAID PROGRMBL DRMND ELITE |  | 2011-02-28
From: AGAWAM, MA (NED)
|  |  | 19-170-010A | 2 Case of 10 PK for $163.36 | Estimated Delivery: | 326.72
|  |  | GLV EXM AMB NTRL PF SM 100/PK |  | 2011-02-24
From: ATLANTA, GA (SED)
|  |  | 19-170-010B | 2 Case of 10 PK for $163.36 | Estimated Delivery: | 326.72
|  |  | GLV EXM AMB NTRL PF MD 100/PK |  | 2011-02-24
From: ATLANTA, GA (SED)
|  |  | 03-395-465 | 1 Each for $8.72 | Estimated Delivery: | 8.72
|  |  | 100 PL CRYO FIBERBOX WT 5X5X2 |  | 2011-02-24
From: ATLANTA, GA (SED)
|  | facs tubes | BD Falcon Round-Bottom Polystyrene Tubes > No cap; O.D.. x L: 12 x 75mm; Non-sterile, bulk packaged, No 352008 | Fisher | 14-959-5 | 51.46 | 5 | 257.3 | canceled
|  |  | Fisherbrand* Reusable Glass Berzelius Beakers, 200ml, case of 4PK | Fisher | FB-102-200 | 195.17 | 1 | 195.17 | canceled
|  | 1.5 ml epp tubes | Fisherbrand* Snap-Cap* Flat-Top Graduated Microcentrifuge Tubes > 1.5mL; Natural; Nonsterile; Graduated in 0.5mL increments, pk of 10 case | Fisher | 02-682-550 | 144.5 | 1 | 144.5 | canceled
|  | white freezer boxes | Thermo Scientific* Freezer Fiberboard Storage Boxes > 5.25 L x 5.25 W x 2 in. H, Thermo Scientific No 5954 | Fisher | 11-678-24A, | 36.46 | 10 | 364.6 | canceled
|  | blue nitril gloves | Kimberly-Clark* Blue Nitrile Exam Gloves, small | Fisher | 18-999-4409B |  | 20 | 350 | canceled
|  |  | Kimberly-Clark* Blue Nitrile Exam Gloves, medium | Fisher | 18-999-4409C |  | 20 | 350 | canceled
|  |  | Kimberly-Clark* Blue Nitrile Exam Gloves, large | Fisher | 18-999-4409D |  | 20 | 350 | canceled
plastic container
Fisher Discount Orders
|  |  | small cryo gloves | VWR
|  |  | Microseal 'F' Film, MSF1001, bag of 100 sheets | BioRAD
|  |  | Thermowell Gold PCR tubes, 0.5ml, flat cap, non-steril | Corning 3750
measuring scoops
Guide to Yeast Genetics, John Abelson
Yeast protocols, wei xiao
methods in yeast genetics, Amberg
yeast genomic DNA isolation kits
microscope with vertical connectors
buffers
gel buffers
|  |  | FACS at More house |  |  | 100 | 48 | 4800
more tubes for screen
pH meter
|  |  | power splitters | office dept
|  |  | white light box | office dept
Yeast media
|  |  | Electronic balance, mg level, VWR | 1186.01
|  |  | Electronic balance, 500g capacity, VWR | 810
???
freezer, -20C
|  |  | freezer, -80C, with cabinets | 3500
Molecular Biology reagents
Cold blacks for enzymes, buffers
temprature strips on flaskes
|  |  | Pb(NO3)2 | Fisher | L62-500 | 157.53 | 1 | 157.53
Peptone
|  |  | MasterPure yeast genomic DNA purification kit | http://www.epibio.com/item.asp?ID=319#Items |  | 250
Zymogenetics yeast gDNA isolation kit
https://www.vwrsp.com/catalog/product/index.cgi?catalog_number=89031-974&inE=1&highlight=89031-974
| 1 | x | Microson XL2000 Ultrasonic cell disruptor, misonix | VWR | 40000-614 | 2817.2 | 1 | 2700 | emailed to E Thomas 9/10/09
| 2 | x | microprobe, 3.2 mm | VWR | 40000-728 | 291.11 | 1 | 291.11 | emailed to E Thomas 9/10/09
| 3 | ? | Nikon yeast tetrad dissection scope |  |  |  |  | 7500 | ordered around 9/10/2009
| 4 | x | Yeast resequencing frozen stock | NCYC,UK |  | 500 pound sterling |  | 900 | 9/20 emailed
| 5 | x | Bacto Yeast extract UF - 500GM | VWR | 90000-018 | 115.41 | 2 | 230.82 | 9/29 emailed
| 6 | x | Bacto Peptone 500GM | VWR | 90000-264 | 93.11 | 1 | 93.11 | 9/29 emailed
| 7 | x | Steril petri dishes 150x15mm (case of 100) | VWR | 25384-326 | 122.26 | 2 | 244.52 | 9/29 emailed
| 8 | x | safety face shield, Nalgene (NOT UV proof) | VWR | 33007-107 | 144.9 | 1 | 144.9 | 9/29 emailed
| 9 | x | tooth picks, flat, box of 750 | VWR | WL9088-31 | 1.31 | 2 | 2.62 | 9/29 emailed
| 10 | x | VWR large-digit triple-display timer | VWR | 62344-588 | 30.04 | 2 | 60.08 | 9/29 emailed
|  | ?? | Dextrose(D-glucose) 2.5kg | VWR | BDH-0230-2.5KG | 91.59 | 1 | 91.59 | 9/29 emailed
| 11 | x | agarose (DNA grade) 100G | VWR | 100503-642 | 206.43 | 2 | 412.86 | 9/29 emailed
| 12 | x | VWR steril syringe filters, cellulose acetate, 0.2um, 25mm diameter | VWR | 28145-477 | 106.02 | 1 | 106.02 | 9/29 emailed
| 13 | x | Single-use needles, BD medical, 18 gauge, pk of 100 | VWR | BD305195 | 9.3 | 1 | 9.3 | 9/29 emailed
| 14 | x | Single-use needles, BD medical, 21 gauge, pk of 100 | VWR | BD305165 | 12.07 | 1 | 12.07 | 9/29 emailed
| 15 | x | Single-use needles, BD medical, 25 gauge, pk of 100 | VWR | BD305122 | 12.07 | 1 | 12.07 | 9/29 emailed
| 16 | x | BD plastipak Syringes with eccentric tip, 10ml, pack of 100 | VWR | BD305482 | 29.42 | 1 | 29.42 | 9/29 emailed
| 17 | x | BD plastipak Syringes with eccentric tip, 60ml, case of 240 | VWR | BD300866 | 270.78 | 1 | 270.78 | 9/29 emailed
| 18 | x | Glassbeads 212-300um, 100G | SIGMA | G1277 | 79.6 | 1 | 79.6 | 9/29 emailed
| 19 |  | G418 1g (5x2ml 0.1g/ml) | www.InvivoGen.com |  | 65 | 2 | 130 | 9/29 emailed
| 20 | x | sodium citrate | SIGMA | S1804-500G | 62.9 | 1 | 62.9
| 21 | x | Potassium acetate | SIGMA | P1190-100G | 23.8 | 1 | 23.8
| 22 | x | Adenine hemisulfate salt | SIGMA | A9126-25G | 83.6 | 1 | 83.6
| 23 | x | Pb(NO3)2 | SIGMA | L6258-100G | 25 | 1 | 25
| 24 | x | (NH4)2SO4 | SIGMA | A4418-500G | 47.4 | 1 | 47.4
| 25 | x | Yeast Synthetic Drop-out Medium Supplements (20g) without histidine, leucine, tryptophan and uracil (Sigma) | SIGMA | Y2001-20G | 74.6 | 2 | 149.2
| 26 | x | YEAST1 transformation Kit | SIGMA | YEAST1-1KT | 278.5 | 1 | 278.5 | received 1/3/2010
| 27 | x | Uracil 100G | SIGMA | U0750-100G | 50.9 | 1 | 50.9
| 28 | x | Methyl viologen dichloride hydrate | SIGMA | 856177-1G | 33.8 | 4 | 135.2 | paraquat
| 29 | x | VWR pipet tips, standard, 0.1-10,96 rack, 10 racks/pack | VWR | 82028-530 | 90.76 | 2 | 181.52 | Oct27,09 requested
| 30 | x | VWR pipet tips, standard, 0.1-10,bulk, case of 10 packs | VWR | 82028-528 | 357.72 | 1 | 357.72 | Oct27,09 requested
| 31 | x | VWR pipet tips, standard, 1-300,96 rack, 10 racks/pk | VWR | 82028-560 | 73.8 | 2 | 147.6 | Oct27,09 requested
| 32 | x | VWR pipet tips, standard, 1-300,bulk, case of 10 packs | VWR | 82028-558 | 297.76 | 1 | 297.76 | Oct27,09 requested
| 33 | x | VWR pipet tips, standard, 100-1000,bulk, case of 10 packs | VWR | 82028-564 | 340.68 | 1 | 340.68 | Oct27,09 requested
| 34 | x | VWR pipet tips, standard, 100-1000, 100/rack, 10 racks/pk | VWR | 82028-566 | 85.09 | 1 | 85.09 | Oct27,09 requested
| 35 |  | Unwire half-racks, Resmer Resin, Nalgene, 25mm, white, case of 8 | VWR | 66024-002 | 118.6 | 1 | 118.6 | Oct27,09 requested
| 36 | x | Rubber pipet filler, Heathrow Scientific | VWR | 89015-588 | 24.81 | 2 | 49.62 | Oct27,09 requested
| 37 | x | VWR freezer boxes, assoted, pack of 5 | VWR | 16466-024 | 63.64 | 2 | 127.28 | Oct27,09 requested
| 38 |  | Round floating microcentrifuge tube racks, nalgene, pack of 4 | VWR | 60986-4015 | 54.82 | 1 | 54.82 | Oct27,09 requested
| 39 | x | Squre floating microtube rack, Nalgene, pack of 4 | VWR | 60986-094 | 58.17 | 1 | 58.17 | Oct27,09 requested
| 40 | x | VWR laboratory labeling rtapes, rainbow pack, 25.4mm, pack of 12 | VWR | 36425-027 | 104.19 | 1 | 104.19 | Oct27,09 requested
| 41 | x | VWR laboratory labeling rtapes, rainbow pack, 19mm, pack of 16 | VWR | 36425-025 | 104.19 | 1 | 104.19 | Oct27,09 requested
| 42 | x | Seagate FreeAgent Go Portable External USB 2.0 Hard Drive, 500GB, Black | Office Depot | #992945 | 109.99 | 2 | 219.98 | Nov6,09 emailed
| 43 | x | HP Laser Jet P1005 Monochrome Printer | Office Depot | #460065 | 129.99 | 1 | 129.99 | Nov6,09 emailed
| 44 | x | HP 35A Black Laser Toner catridge, Model CB435A | Office Depot | #636645 | 61.19 | 1 | 61.19 | Nov6,09 emailed
| 45 | x | Wilson Jones Standard Round Ring View Binder, 1 1/2'' ring, white | Office Depot | #729558 | 3.59 | 10 | 35.9 | Nov6,09 emailed
| 46 | X | Color hanging folders, 1/5 cut, 8 1/2''x11'', spring colors, pack of 25 | Office Depot | #677490 | 10.79 | 1 | 10.79 | Nov6,09 emailed
| 47 | x | Notebook filler paper, college-rules, 8 1/2''x11'', 3-hole punched, pack of 150 sheets | Office Depot | #956112 | 1.79 | 50 | 89.5 | Nov6,09 emailed
| 48 | x | File folders, 1/3 cut, 8 1/2''x11'', manila, pack of 100 | Office Depot | #810838 | 6.29 | 5 | 31.45 | Nov6,09 emailed
| 49 | x | Hanging folders, 1/5 cut, 9 1/4''x11 3/4'', pack of 25 | Office Depot | #810994 | 6.29 | 4 | 25.16 | Nov6,09 emailed
| 50 | x | linux workstation |  |  |  |  | 1326 | received 1/28/2010
| 51 | HQ | stamp set | coral style |  | 99 | 1 | 99
| 52 | HQ | needle set | coral style |  | 125 | 1 | 125
| 53 | HQ | Replica black 4 inch | coral style |  | 36 | 1 | 36
|  | HQ | Shipping | coral style |  | 13 | 1 | 13
| 54 |  | Apple lap top computer |  |  |  |  | 2671.95 | emailed 1/25/2010
| 55 | x | PIPET-LITE LTS PIPET 0.1-2UL | Rainin | L-2 | 298 | 2 | 596 | emailed 1/26/2010 | rev 2/18/10
| 56 |  | N-WIRE HALF RACK PP 25MM 47750-472 Each $16.02 | VWR | 47750-472 | 16.02 | 5 | 80.1 | emailed 1/26/2010
| 57 |  | No-Wire* Racks, Polypropylene, SCIENCEWARE* Case of 8 | VWR | 60915-405 | 128 | 1 | 128 | emailed 1/26/2010
| 58 | x | Steril petri dishes 100x15mm (case of 500) | VWR | 25384-302 | 176.04 | 2 | 352.08 | emailed 1/26/2010 | recv 2/21/10
| 59 | x | Steril petri dishes 150x15mm (case of 100) | VWR | 25384-326 | 122.26 | 5 | 611.3 | emailed 1/26/2010 | recv 2/21/10
| 60 | x | Dextrose, Anhydrous. USP Grade. 500G case of 12 | VWR | BDH-8005-500G | 270.89 | 1 | 270.89 | emailed 1/26/2010
| 61 | x | Xcelite screwdriver sets, cooper tools, 7 piece set | VWR | 37699-586 | 52.15 | 1 | 52.15 | emailed 1/26/2010
| 62 | x | L3 Headband Earmuff | VWR | 82017-255 | 30.14 | 2 | 60.28 | emailed 1/26/2010
| 63 | x | VWR® Critical Cover® Alpha Air® Masks, Pack of 50, Yellow | VWR | 33300-140 | 27.63 | 1 | 27.63 | emailed 1/26/2010 | recv 3/10/2010
| 64 | x | SHIELD UV W/RATCHET HEADGEAR 33002-123 Each $30.04 | VWR | 33002-123 | 30.04 | 1 | 30.04 | emailed 1/26/2010 | recv 3/10/2010
| 65 | x | VWR Signature™ Ergonomic High Performance Multichannel Pipettors, 50-300ul | VWR | 89079-950 | 649.72 | 1 | 649.72 | emailed 1/26/2010 | recv 2/21/10
| 66 | x | 96-Well Microtitration Plates, Corning, case of 100 | VWR | 29442-392 | 199.3 | 1 | 199.3 | emailed 1/26/2010
| 67 | x | 1ml, VWR® Disposable Serological Pipets, Polystyrene, Sterile, Plugged, case of 1000 | VWR | 53283-700 | 268.38 | 1 | 268.38 | emailed 1/26/2010 | recv 2/21/10
| 68 | x | 2ml, VWR® Disposable Serological Pipets, Polystyrene, Sterile, Plugged, case of 500 | VWR | 53283-704 | 163.98 | 1 | 163.98 | emailed 1/26/2010 | recv 2/21/10
| 69 | x | 5ml, VWR® Disposable Serological Pipets, Polystyrene, Sterile, Plugged, case of 200 | VWR | 53283-706 | 88.53 | 2 | 177.06 | emailed 1/26/2010 | recv 2/21/10
| 70 | x | 10ml, VWR® Disposable Serological Pipets, Polystyrene, Sterile, Plugged, case of 200 | VWR | 53283-708 | 95.69 | 3 | 287.07 | emailed 1/26/2010 | recv 2/21/10
| 71 | x | 25ml, VWR® Disposable Serological Pipets, Polystyrene, Sterile, Plugged, case of 200 | VWR | 53283-710 | 207.75 | 2 | 415.5 | emailed 1/26/2010 | recv 2/21/10
| 72 | x | Mini light box (not working) | VWR | 47751-118 | 139.86 | 1 | 139.86 | emailed 1/26/2010
| 73 | x | AC adpter for mini light box | VWR | 47751-120 | 38.37 | 1 | 38.37 | emailed 1/26/2010
| 74 | x | 15ml, BD Falcon* Centrifuge Tubes, Polypropylene, Sterile, | VWR | 21008-936 | 213.85 | 1 | 213.85 | emailed 1/26/2010 | recv 2/21/10
| 75 | x | 50ml, BD Falcon* Centrifuge Tubes, Polypropylene, Sterile, | VWR | 21008-940 | 288.54 | 1 | 288.54 | emailed 1/26/2010 | recv 2/21/10
| 76 | x | 1.5ml VWR® SuperSpin™ Microcentrifuge Tubes, Polypropylene | VWR | 20170-038 | 277.96 | 1 | 277.96 | emailed 1/26/2010 | recv 2/21/10
| 77 | x | small, Nitron One* Lightly-Powdered Nitrile Gloves, Microflex* | VWR | 32916-608 | 162.25 | 1 | 162.25 | emailed 1/26/2010 | recv 3/3/10
| 78 | x | medium, Nitron One* Lightly-Powdered Nitrile Gloves, Microflex* | VWR | 32916-610 | 162.25 | 1 | 162.25 | emailed 1/26/2010 | recv 2/15/10
| 79 | x | (WRONG) 2ml, internal threading, VWR* Cryogenic Vials with Closures, Polypropylene, Sterile, round bottom (WRONG) | VWR | 89094-804 | 203.01 | 1 | 203.01 | emailed 1/26/2010 | recv 2/15/10
| 80 |  | TUBE 0.6 STERILE ASSRTED 100509-732 Pack of 1000 $47.36 | VWR | 00509-732 | 47.36 | 2 | 94.72 | emailed 1/26/2010
| 81 | x | YEAST NITROGEN BASE 100GM 61000-200 Each (100 GM) $77.38 | VWR | 61000-200 | 77.38 | 1 | 77.38 | emailed 1/26/2010 | recv 2/15/10
This VWR total ~ $2700
| 82 |  | BOOKS |  |  |  |  | 400
$7100 in balance
| 83 | x | without histidine, Yeast Synthetic Drop-out Medium Supplements | SIGMA | Y1751-20G 106.00 | 106 | 1 | 106 | emailed 2/10/2010 | recv 3/12/10
| 84 | x | without uracil, Yeast Synthetic Drop-out Medium Supplements | SIGMA | Y1501-20G | 76.2 | 1 | 76.2 | emailed 2/10/2010 | recv 3/12/10
| 85 | x | without histidine, leucine, tryptophan and uracil, Yeast Synthetic Drop-out Medium Supplements | SIGMA | Y2001-20G | 74.6 | 1 | 74.6 | emailed 2/10/2010 | recv 3/12/10
| 86 | x | L-Histidine | SIGMA | H6034-25G | 30.4 | 1 | 30.4 | emailed 2/10/2010 | recv 3/12/10
| 87 | x | L-Leucine | SIGMA | L8912-25G | 27.2 | 1 | 27.2 | emailed 2/10/2010 | recv 3/12/10
| 88 | x | L-Tryptophan | SIGMA | T8941-25G | 34.2 | 1 | 34.2 | emailed 2/10/2010 | recv 3/12/10
| 89 | x | L-Methionine | SIGMA | M9625-25G | 16.4 | 1 | 16.4 | emailed 2/10/2010 | recv 3/12/10
| 90 | x | Rapamycin | SIGMA | R8781-200UL | 190 | 1 | 190 | emailed 2/10/2010 | recv 3/12/10
| 91 | x | Radicicol from Diheterospora chlamydosporia | SIGMA | R2146-1MG | 98.3 | 1 | 98.3 | emailed 2/10/2010 | recv 3/12/10
| 92 | x | Radicicol from Diheterospora chlamydosporia | SIGMA | R2146-5MG | 398 | 1 | 398 | emailed 2/10/2010 | recv 3/12/10
| 93 | x | G 418 disulfate salt solution | SIGMA | G8168-10ML | 70.3 | 2 | 140.6 | emailed 2/10/2010 | recv 3/12/10
| 94 |  | 5-Fluoroorotic acid hydrate (5FOA) | SIGMA | 47190-250MG-F | 174.5 | 1 | 174.5 | emailed 2/10/2010
| 95 | x | Ampicillin, 100mg/ml, 10ml | SIGMA | A5354-10ML | 63 | 1 | 63 | emailed 2/10/2010 | recv 3/12/10
| 96 | x | Hydrogen peroxide solution | SIGMA | H3410-500ML | 64.3 | 2 | 128.6 | emailed 2/10/2010 | recv 3/12/10
| 97 | x | Sodium chloride | SIGMA | S7653-1KG | 60.1 | 1 | 60.1 | emailed 2/10/2010 | recv 3/12/10
| 98 | x | Glycerin | SIGMA | G2289-500ML | 96.4 | 1 | 96.4 | emailed 2/10/2010 | recv 3/12/10
| 99 | x | Glycerol | SIGMA | G5516-500ML | 48.1 | 1 | 48.1 | emailed 2/10/2010 | recv 3/12/10
| 100 | x | CaCl2 | SIGMA | C1016-500G | 35.7 | 1 | 35.7 | emailed 2/10/2010 | recv 3/12/10
| 101 | x | KCl | SIGMA | P9333-500G | 66.4 | 1 | 66.4 | emailed 2/10/2010 | recv 3/12/10
| 102 |  | MnCl2 | SIGMA | M8054-100G | 27.3 | 1 | 27.3 | emailed 2/10/2010
| 103 | x | Lithium Acetate | SIGMA | L4158-100G | 21.4 | 1 | 21.4 | emailed 2/10/2010 | recv 3/12/10
| 104 | x | Ethidium Bromide | SIGMA | E7637-1G | 37.1 | 1 | 37.1 | emailed 2/10/2010 | recv 3/12/10
| 105 | x | Ethidium Bromide solution | SIGMA | E1510-10ML | 46 | 1 | 46 | emailed 2/10/2010 | recv 3/12/10
| 106 | x | EDTA Ethylenediaminetetraacetic acid (WRONG form, really hard to dissolve) | SIGMA | ED-1KG | 51.9 | 1 | 51.9 | emailed 2/10/2010 | recv 3/12/10
| 107 | x | Trizma® base (TRIS) | SIGMA | T1503-500G | 61.1 | 1 | 61.1 | emailed 2/10/2010 | recv 3/12/10
| 108 |  | Trizma® base (TRIS) | SIGMA | T1503-1KG | 96.3 | 1 | 96.3 | emailed 2/10/2010 | recv 3/12/10
| 109 |  | Boric acid | SIGMA | B6768-500G | 34.6 | 1 | 34.6 | emailed 2/10/2010
| 110 |  | Glacial acetic acid | SIGMA | A9967-500G | 63.3 | 1 | 63.3 | emailed 2/10/2010
| 111 | x | Sodium dodecyl sulfate (SDS) | SIGMA | L4390-500G | 188 | 1 | 188 | emailed 2/10/2010 | recv 3/12/10
| 112 | x | Triton® X-100 (10) | SIGMA | T8787-250ML | 55.9 | 1 | 55.9 | emailed 2/10/2010 | recv 3/12/10
| 113 | x | 3-Methylbutanol (isoamyl alcohol) | SIGMA | I9392-500ML | 48.5 | 1 | 48.5 | emailed 2/10/2010 | recv 3/12/10
| 114 | x | Liquified Phenol | SIGMA | P9346-500ML | 72.4 | 1 | 72.4 | emailed 2/10/2010
| 115 | x | Chloroform | SIGMA | C2432-500ML | 39.3 | 1 | 39.3 | emailed 2/10/2010
| 116 | x | EtOH | SIGMA | E7023-6X500ML | 254.5 | 1 | 254.5 | emailed 2/10/2010
| 117 |  | D-(+)-Raffinose pentahydrate (4) | SIGMA | R0250-25G | 61.5 | 1 | 61.5 | emailed 2/10/2010
| 118 | x | Poly(ethylene glycol) | SIGMA | P3640-500G | 38.9 | 1 | 38.9 | emailed 2/10/2010
| 119 | x | Deoxyribonucleic acid sodium salt from salmon testes | SIGMA | D1626-5G | 291 | 1 | 291 | emailed 2/10/2010 | recv 3/12/10
| 120 |  | DMSO (Dimethyl sulfoxide) | SIGMA | D8418-100ML | 51.5 | 1 | 51.5 | emailed 2/10/2010
| 121 | x | D-(+)-Galactose (8) | SIGMA | G0625-100G | 30.1 | 1 | 30.1 | emailed 2/10/2010
| 122 | x | Ribonuclease A from bovine pancreas (12) | SIGMA | R6513-50MG | 85.9 | 1 | 85.9 | emailed 2/10/2010 | recv 3/12/10
| 123 |  | Potassium acetate | SIGMA | P1190-500G | 61.4 | 1 | 61.4 | emailed 2/10/2010
| 124 | x | Zinc acetate dihydrate | SIGMA | Z0625-500G | 38.4 | 1 | 38.4 | emailed 2/10/2010 | recv 3/12/10
| 125 |  | 2-Mercaptoethanol | SIGMA | M3148-25ML | 11.9 | 1 | 11.9 | emailed 2/10/2010
| 125 |  | EndNote X3, MAC version |  |  |  |  | 220 | emailed 3/15/2010
| 126 |  | USB (MVC-U3MP-EMT3) miniVID, 3.1mp | http://www.greatscopes.com/minivid.htm |  | 399 | 1 | 399 | emailed 3/16/2010
| 127 |  | 100 bp DNA Ladder 50ug | Invitrogene | 15628019 | 99 | 1 | 99 | emailed 3/16/2010
| 128 |  | 1 Kb Plus DNA Ladder™ 250ug | Invitrogene | 10787018 | 144 | 1 | 144 | emailed 3/16/2010
| 129 |  | 10X BlueJuice™ Gel Loading Buffer (3x1ml) | Invitrogene | 10816015 | 33 | 5 | 165 | emailed 3/16/2010
| 130 |  | S.N.A.P.™ Gel Purification Kit (25 reaxtions) | Invitrogene | K1999-25 | 115 | 1 | 115 | emailed 3/16/2010
| 131 |  | PureLink™ Quick Gel Extraction and PCR Purification Combo Kit | Invitrogene | K2200-01 | 99 | 1 | 99 | emailed 3/16/2010
| 132 |  | Platinum® Taq DNA Polymerase High Fidelity (100 reactions) | Invitrogene | 11304-011 | 153 | 1 | 153 | emailed 3/16/2010
| 133 |  | 10 mM dNTP Mix 1 ml | Invitrogene | 18427-088 | 371 | 1 | 371 | emailed 3/16/2010
| 134 |  | AmpliTaq Gold® 360 DNA Polymerase, 250U | Invitrogene | 4398823 | 231 | 1 | 231 | emailed 3/16/2010
| 135 |  | UltraPure™ 0.5 M EDTA, pH 8.0 (4x100ml) | Invitrogene | 15575020 | 53.75 | 1 | 53.75 | emailed 3/16/2010
| 136 |  | Ultra Pure™ 1 M Tris-HCI, pH 7.5 (1L) | Invitrogene | 15567027 | 40.2 | 1 | 40.2 | emailed 3/16/2010
| 137 |  | DEPC-treated Water (1 x 100 mL) Dnase free for PCR | Invitrogene | AM9915G | 24.72 | 2 | 49.44 | emailed 3/16/2010
|  |  | hadling, shipping, dry ice |  |  | 113.5 | 1 | 113.5 | 1633.89 total, invitrogen
Last order June 3, 2010
| 138 |  | EcoR I | Promega | R6017 | 78 | 1 | 78
| 139 |  | Bgl II | Promega | R6081 | 40 | 1 | 40
| 140 |  | BamH I | Promega | R6021 | 44 | 1 | 44
| 141 |  | Sal I | Promega | R6051 | 69 | 1 | 69
| 142 |  | Hind III | Promega | R6041 | 27 | 1 | 27
| 143 |  | Multi-core buffer pack | Promega | R9991 | 10 | 1 | 10
| 144 |  | 4-CORE buffer pack | Promega | R9921 | 10 | 1 | 10
| 145 |  | VWR two sided disposable plastic cuvettes, semi micro, acrylic, 1.5-3.0, case | VWR | 97000-590 | 101.27 | 4 | 405.08
| 157 |  | VWR® CryoPro® Storage Boxes, pack of 12, no divider | VWR | 82021-116 | 49.1 | 5 | 245.5
| 158 |  | Fiberboard dividers, 100 cells, pack of 12 | VWR | 82021-128 | 22.04 | 5 | 110.2
| 146 |  | Grade 1 filter paper, Whatman, 3.2 dia | VWR | 28450-021 | 6.56 | 5 | 32.8
| 147 |  | Reynolds wrap, aluminum foil, standard, case of 24 | VWR | 89079-066 | 124.11 | 1 | 124.11
| 148 |  | VWR clear plastic lab wrap | VWR | 46610-056 | 9.82 | 5 | 49.1
| 149 |  | SPOON/SPATULA 1WEIGH KIT 7PCS | VWR | 89013-642 | 71.12 | 1 | 71.12
| 150 |  | BDH® Reference Standard Buffers, 4.00 | VWR | BDH5024-500ML | 34.27 | 1 | 34.27
| 151 |  | BDH® Reference Standard Buffers, 7.00 | VWR | BDH5046-500ML | 28.57 | 1 | 28.57
| 152 |  | BDH® Reference Standard Buffers, 11.00 | VWR | BDH5084-500ML | 47.43 | 1 | 47.43
| 153 |  | VWR® Grade 707 Blotting Pads, 11x13, pack of 50 | VWR | 28297-998 | 34.75 | 2 | 69.5
| 154 |  | VWR® Grade 703 Blotting Paper, 10x15, pack of 100 | VWR | 28298-028 | 30.99 | 1 | 30.99
| 155 |  | Forceps, Multi-Colored, pack of 3 | VWR | 34181-102 | 85.24 | 1 | 85.24
| 156 |  | EDTA, Disodium Salt Dihydrate, Molecular Biology Grade. | VWR | BDH4528-500GP | 55.7 | 1 | 55.7
| 157 |  | VWR® Talon® Heavy-Duty Support Stands | VWR | 97035-512 | 276 | 1 | 276
| 158 |  | VWR® Talon® Three-Prong Extension Clamps, small | VWR | 21570-125 | 32.65 | 1 | 32.65
| 159 |  | VWR® Talon® Three-Prong Extension Clamps, medium | VWR | 21570-126 | 34.2 | 1 | 34.2
| 160 |  | VWR HOLDER JUMBO S/S | VWR | 12621-250 | 39.49 | 2 | 78.98
| 163 |  | L-Amino acids (1g each) | SIGMA | LAA21-1KT | 315 | 1 | 315 | 2404.44
laptop secure cables
AA batteries
AAA batteries
optical mouse
|  |  | western blot materials |  |  |  |  | #ERROR!:parse
southern blot materials
|  |  | UltraPure™ Agarose, 100g | Invitrogene | 16500100 | 132 | 0 | 0
[6 empty] | 0 | 1 | 0
[7 empty] | sum | 35797.42 | 35797.42
ranin RT-L10 tips
| 138 |  | One Shot® TOP10 Chemically Competent E. coli | Invitrogene | C4040-10 | 208 | 0 | 0
| 135 |  | PureLink™ Quick Plasmid Miniprep Kit, 50 preps | Invitrogene | K2100-10 | 70.75 | 1 | 70.75
Bioscreen C, growth curve assay
|  |  | ChargeSwitch® Plasmid Yeast Mini Kit | Invitrogene | CS10203 | 150 | 1
|  |  | EDP3 WALL POWER SUPPLY | Rainin | E3-WPS | 40.5
|  |  | EDP3 RAPID CHARGE STAND | Rainin | E3-RCS | 180
|  |  | EDP3+ ELEC LTS 8-CH PIPET 20-300UL | Rainin | E8-300 | 895
|  |  | PIPET-LITE LTS PIPET 0.5-10UL | Rainin | L-10 | 298
|  |  | 0.1-2ul rainin classic conical-shaft pipettes | VWR | PR-2 | 269
|  |  | EDP3+ ELECTRONIC LTS PIPET 8-CH 2-20UL | Rainin | E8-20 | 895
[7 empty] | 2 | 597.76
|  |  | 0.2-2ul, VWR Signature™ Ergonomic High Performance Single-Channel Variable Volume Pipettors | VWR | 89079-960 | 298.88
| 98 |  | Potassium acetate | SIGMA |  |  | 0 | 0 | ?
[5 empty] | P1190-500G | 61.4
|  |  | Referece books |  |  | 500 | 0 | 0
|  |  | incubator | vwr |  | 800 | 0 | 0
|  |  | Rotator | vwr |  | 1500 | 0 | 0
agarose
Pb(NO3)2
|  |  | 5FOA | Biovectra |  | 1g | 51
|  |  | Kneedles | CoraStyles |  | kit
|  |  | Tetrad dissection scope | Nikon
cell counter
|  |  | 150mm plates | VWR | 25384-326 | case of 100 | 98.72 | 493.6
|  |  | RNA isolation kit | http://www.zymoresearch.com/
|  |  | Bacto Yeast extract UF - 500GM | VWR | 90000-018 | 115.41
|  |  | Bacto Peptone 2KG | VWR | 90000-368 | 361.07
|  |  | Agar Dehyd media bacto 454G | VWR | 90000-760 | 185.39
|  |  | Steril petri dishes 150x15mm (case of 100) | VWR | 25384-326 | 122.26
|  |  | YPD Broth (500g) | VWR | 90003-284 | 59.61
|  |  | VWR Tube Rotator | VWR | 13916-822 | 438.51 | too small
|  |  | Rotisserie plate for 36 1.5ml tubes | VWR | 13916-830 | 43.92
|  |  | Rotisserie plate for 10 15ml tubes | VWR | 13916-832 | 43.92
|  |  | Rotisserie plate for 6 50ml tubes | VWR | 13916-834 | 43.92 | too small
|  |  | Fisher Scientific Tissue Culture Rotator | Fisher | 14-251-250 | 1908.54 | too expensive
|  |  | tissue culture drum, 60x30mm tubes | Fisher | 14-251-253 | 504.05
|  | discontinued | Pyrex vista culture tubes with phenolic screw caps, corning, 25x150 | VWR | 89090-406 | 129.35 | pack of 50
|  |  | Fisherbrand* Reusable Glass Tubes with Phenolic Screw Caps (case of 500) 20x150mm | Fisher | 14-959-25F | 329.05 | good price
|  |  | G418 1g (5x2ml 0.1g/ml) | www.InvivoGen.com |  | 65
|  |  | G418 5g (50ml 0.1g/ml) |  |  | 185
unit price
|  |  | Sonicator* Ultrasonic Cell Disruptors, Misonix* | VWR | 97007-386 | 4750 | too expensive
|  |  | tappered microtip probe, 1.6mm | VWR | 40000-684 |  | too expensive
Pb(NO3)2
|  |  | 5FOA | Biovectra |  | 1g | 51
|  |  | Kneedles | CoraStyles |  | kit
|  |  | Tetrad dissection scope | Nikon
cell counter
|  |  | 150mm plates | VWR | 25384-326 | case of 100 | 98.72 | 493.6
Individual Plate
301-349, 370-372, 380-381
1
95401.H1P
Individual Clones
-
1
95400
Mat-A Haploid
Individual Plate
1-51, 70-71
1
95401.H2P
Individual Clones
-
1
95400
Mat-Alpha Haploid
Individual Clones
-
1
95400
Heterozygous Diploid A
Release 1 plate set
201-229, 270, 280
31
95401.H4
Individual Clones
-
1
95400
Heterozygous Diploid Essential
Complete set
401-413, 470, 480-481
16
95401.H5R3
Individual Clones
-
http://www.fishersci.com/ecomm/servlet/fsproductdetail?storeId=10652&productId=743547&catalogId=29103&matchedCatNo=1412746¦¦1412747&endecaSearchQuery=%23store%3DHealthcare%23N%3D0%23rpp%3D15&fromSearch=1&searchKey=mats¦¦mat¦¦surfaces¦¦surface¦¦protectors¦¦protector&highlightProductsItemsFlag=Y |  |  | Surface protector | Fisher | 14-127-47 |  | 1case | 163.98